# Sensor-Based Nadi Pariksha Diagnostic Machine

## 1. Executive Summary

Nadi Pariksha is an Ayurvedic pulse diagnosis method. According to Ayurveda, our body is governed by three energies called doshas:

- Vata – movement, nervous system, dryness

- Pitta – metabolism, heat, digestion

- Kapha – structure, stability, lubrication

In Nadi Pariksha, a trained doctor (Vaidya) feels the pulse at the wrist and, from its speed, strength, rhythm, and temperature, they judge which dosha is balanced or imbalanced.

### What your project is doing

Your project is trying to convert this traditional manual method into a modern electronic system by:

- Using pressure sensors to feel the strength and waveform of the pulse

- Using PPG sensors to measure blood flow and heart rate

- Using temperature sensors to measure the surface temperature of the wrist

- Sending all this data to a microcontroller / Raspberry Pi

- Writing embedded software to:

  - Filter noise

  - Extract important features

  - Map these features to Ayurvedic dosha conditions

- Displaying the result on a mobile or desktop app for the doctor to see

The goal is to make Nadi Pariksha:

- Objective – based on sensor data, not just “feel”

- Repeatable – same reading → same interpretation

- Scalable – can be used in clinics, wellness centers, and training institutes

For all of this, you are estimating a budget of ₹6.75 lakhs, which includes hardware, software, testing, documentation, and contingency.

## 2. Background: Understanding Nadi Pariksha

### How Nadi Pariksha is performed traditionally

A traditional Ayurvedic practitioner:

- Uses three fingers (index, middle, ring) on the radial artery at the wrist of the patient’s right (or sometimes left) hand.

- Each finger is placed at a slightly different position along the artery.

- Each finger corresponds to one dosha:

  - Vata – Index finger

    - Feels like a snake (thin, quick, irregular)

    - Indicates air and space elements, movement, nervous activity

  - Pitta – Middle finger

    - Feels like a frog (jumping, strong, warm)

    - Indicates fire and water elements, metabolism and heat

  - Kapha – Ring finger

    - Feels like a swan (slow, deep, smooth, steady)

    - Indicates earth and water elements, stability and heaviness

### Parameters checked by practitioner

The Vaidya is not just counting heart rate. They are “feeling” many things:

- Vega (Rate) – How fast is the pulse? Faster pulses may indicate Pitta or Vata aggravation; slow and heavy pulses may indicate Kapha.

- Tala (Rhythm) – Is it regular like a metronome? Or irregular, skipping beats, varying rhythm?

  - Regular rhythm → more balanced

  - Irregular → Vata disturbance or pathology

- Bala (Strength/Force) – Is the pulse very strong and hard, or weak and feeble?

  - Strong, bounding → Pitta or strong circulation

  - Weak → Vata or low vitality

- Tapamana (Temperature) – Is the wrist area hot, warm, cool, or cold?

  - More warmth → Pitta dominance

  - Coldness → Vata or poor circulation

### Why digitization is needed

Traditionally:

- Everything is subjective – depends on the practitioner’s touch

- Two practitioners may interpret differently

- There is no stored data or graph

- Students cannot “see” what the teacher is feeling

By digitizing:

- We can record pulse waveforms

- We can store data for comparison over time

- We can train students using real signals

- We can gradually build datasets linking sensor signals to Ayurvedic diagnosis

So the background section explains what Nadi Pariksha is and why it makes sense to map it to sensors.

## 3. Problem Statement

Even though Nadi Pariksha is powerful and non-invasive, it is not widely used in mainstream modern healthcare. The reasons:

- Heavy dependence on practitioner experience

  - Only highly experienced Vaidyas can perform it correctly.

  - Training takes many years, and still results may vary person to person.

- Lack of standardization

  - There is no standard device to measure pulse features.

  - No standard scale (e.g., Bala = 0–10) or objective parameters.

- No supporting digital tools

  - Modern doctors and students don’t have devices that show pulse waveforms linked to doshas.

  - Teaching remains mostly verbal and demonstrative.

- Limited integration with telemedicine and public health

  - In telemedicine, you need digital input from patient side.

  - Without sensors, Nadi Pariksha cannot be done remotely.

### What your project solves

Your device aims to:

- Digitize the pulse signals

- Provide consistent measurements for all patients

- Assist practitioners in making decisions based on both:

  - Traditional Ayurvedic knowledge

  - Objective biomedical signal features

So the problem statement is clearly:

“Nadi Pariksha is valuable but underused because it is subjective, non-standard, and lacks digital support. Our project will fix this by creating a sensor-based, standardized diagnostic device.”

## 4. Project Objectives – Detailed

You listed concise objectives; here’s what each really means:

- Designing a wearable device with multiple biosensors

  - A wrist-mounted housing that holds:

    - 3 pressure sensors (aligned to three dosha positions)

    - 3 PPG sensors (aligned to corresponding points)

    - 3 temperature sensors

  - It should be comfortable, adjustable, and stable during measurement.

- Capturing and digitizing real-time radial pulse data

  - Convert analog signals from sensors to digital using an ADC

  - Use Raspberry Pi or microcontroller as the processing hub

  - Sample signals at appropriate frequency (e.g., 100–500 Hz)

- Mapping pulse characteristics to Ayurvedic parameters

  - Example:

    - High rate + strong amplitude + warmth → Pitta aggravation

    - Irregular rhythm + weak amplitude → Vata imbalance

    - Slow, deep, strong but cold → Kapha dominance

  - These mappings are built with Ayurvedic expert help.

- Interpreting doshic patterns using software algorithms

  - Use a combination of:

    - Thresholds and rules (if HR > X and temp > Y → Pitta)

    - Machine learning later (if enough data collected)

- Developing an intuitive interface

  - For doctors:

    - Live waveform

    - Dosha dominance meter (e.g., bar graph Vata/Pitta/Kapha %)

    - Basic suggestions (e.g., “Vata aggravated; consider lifestyle correction”)

- Validating results through trials & expert feedback

  - Take readings of real patients

  - Ask Ayurvedic doctor to record their diagnosis manually

  - Compare and refine algorithms until they match reasonably well

- Preparing documentation for scaling and production

  - Proper design documents, BOM, circuit diagrams, testing reports

  - So that later it can be manufactured or submitted for grants/approvals.

## 5. Components of the System

### A. Sensors and Hardware – Explanation

Let’s explain why each component is chosen:

- Piezoelectric Pressure Sensors (3 units)

  - These convert mechanical pressure (pulse beat) into electrical voltage.

  - Placed under index, middle, and ring finger positions.

  - They generate a waveform corresponding to pulse pressure over time.

  - From this, we can calculate:

    - Pulse amplitude

    - Shape, upstroke, downstroke

    - Strength (Bala)

- PPG (Photoplethysmography) Sensors (3 units)

  - These use a light source (LED) and detector.

  - As blood volume changes with each heartbeat, light absorption changes.

  - PPG helps in:

    - Heart rate

    - Heart rate variability (HRV)

    - Blood flow pattern

  - It is commonly used in smartwatches and oximeters.

- IR Thermopile Temperature Sensors (3 units)

  - These detect infrared radiation from the skin surface.

  - Gives non-contact or slight-contact skin temperature above radial artery.

  - Helps to quantify Tapamana (heat or coldness).

- Raspberry Pi / ADC Board (1 unit)

  - Acts as main controller and mini-computer.

  - Reads signals via ADC (if external)

  - Runs Python/C programs to:

    - Filter signals

    - Extract features

    - Display results

- Signal Amplifiers & Filters (Set)

  - Raw sensor signals may be:

    - Weak (microvolts/millivolts)

    - Noisy (from body movement, environment)

  - Amplifiers boost signal.

  - Filters (Butterworth, etc.) remove unwanted frequencies (e.g., >50 Hz noise).

- Rechargeable Battery & Power Pack

  - Makes it portable – can be used in clinics without depending on mains power.

  - Supports hours of use.

- 3D Printed Wrist Enclosure (2 units)

  - Holds all sensors in fixed, repeatable positions.

  - Ensures the same alignment for every patient.

  - Two units may be for two sizes or as backup.

- Custom PCB Fabrication (2 boards)

  - Instead of breadboards and loose wires, a PCB is more stable and professional.

  - Integrates:

    - Sensor connectors

    - Amplifier ICs

    - Filter circuits

    - ADC interface paths

- Connectors, Spares, Wiring

  - For internal connections, sensor replacement, debugging.

- Costing and Contingency

- Subtotal: ₹97,500 (raw hardware)

- Contingency 25% for:

  - Damaged sensors

  - Design revisions

  - New components needed

- Final hardware cost: ₹1,21,875

### B. Software and Processing – Detailed

Your embedded software will:

- Acquire signals

  - Read data from pressure, PPG, temperature sensors

  - Use specific sampling frequency per sensor

  - Time-align the readings from all three dosha positions

- Filter and clean raw signals

  - Use Butterworth filters because they have:

    - Flat frequency response in passband

    - Predictable behavior

  - Low-pass filter: removes high-frequency noise

  - Band-pass filter: keeps only frequency range of pulse (around 0.5–20 Hz)

- Extract features
From pressure & PPG:

  - Heart Rate (HR) – count beats per minute

  - Heart Rate Variability (HRV) – variation in time between beats

  - Waveform amplitude – strength of pulse

  - Slope of rising and falling edges – indicates vascular condition

  - Rhythm consistency – regular vs irregular (for Vega & Taal)

From temperature:

  - Average surface temperature

  - Trend (rising, stable, falling)

- Interpret Dosha Imbalances
Examples:

  - Fast HR + strong amplitude + high temperature → Pitta high

  - Irregular HR + low amplitude + maybe cold periphery → Vata high

  - Slow HR + heavy/strong/deep wave + cool or clammy → Kapha dominance

These rules will be refined with expert Ayurvedic input.

- Display visualizations

  - Show:

    - Live pulse graphs

    - HR, HRV, temperature values

    - Dosha bar graph or pie chart

    - Text interpretation like:
“Predominant dosha: Vata. Signs of Vata aggravation observed in pulse characteristics.”

### C. Testing and Validation

To make your device scientifically credible, you must prove that its output matches expert diagnosis.

Steps:

- Select 20–30 subjects

  - Different ages, genders, health conditions.

- For each subject

  - Place the device on the wrist and record signals for a fixed duration (e.g., 2–3 minutes).

  - At the same time, an experienced Ayurveda doctor performs manual Nadi Pariksha and notes:

    - Dominant dosha

    - Any imbalance (e.g., “Vata-Pitta aggravation”)

- Data comparison

  - Compare the device’s dosha reading with the doctor’s reading.

  - Calculate:

    - Percentage of agreement (e.g., 80% match)

    - Where it differs and why

- Refinement

  - Adjust thresholds in algorithm based on feedback.

  - Test again until reasonable accuracy is achieved.

### D. Documentation, IP & Outreach – Detailed

You will prepare:

- User Manuals

  - How to place the device correctly

  - How to interpret software results

  - Safety precautions

- Training Guides

  - For students learning Nadi Pariksha with both hand and device

  - Step-by-step tutorials with example recordings

- Clinical Whitepaper

  - A documented study of your trials:

    - Methodology

    - Data analysis

    - Results

    - Discussion

- Provisional Patent

  - For:

    - Integration of multiple sensors for Nadi Pariksha

    - Custom algorithms mapping signal to doshic interpretation

- Outreach

  - Live demos at Ayush centers, wellness clinics, Ayurveda colleges

  - Collect feedback from practitioners

### E. Contingency

This is a buffer budget for:

- Sensor failures

- Extra PCBs

- Extra 3D prints

- Travel for clinical testing/demo

- Any redesign if first prototype fails in some aspect

## 6. Budget Summary – Detailed

You have divided your total cost into 5 parts:

- Hardware – ₹1,21,875

  - All sensors, electronics, enclosure, and contingency.

- Software – ₹1,50,000

  - Developer time for:

    - Firmware programming

    - Signal processing algorithms

    - UI/UX design for interface

  - Possibly small licenses / software tools.

- Testing – ₹1,20,000

  - Honorarium for Ayurvedic experts

  - Clinical site costs

  - Subject recruitment, printing, logistics

- Documentation & IP – ₹85,000

  - Printing manuals, design reports

  - Patent filing costs (provisional)

  - Whitepaper preparation, graphics, diagrams

- Contingency – ₹50,000

  - Final buffer for any unexpected expense

Total = ₹6,75,000

This shows you have planned a realistic budget, not just for hardware but also for software, testing, and legal/IP work, which many student projects ignore.

## 7. Timeline

You’ve divided the work into 5 phases over 9 months:

- Phase 1 (1.5 months)

  - Finalize component list

  - Purchase sensors and electronics

  - Design and fabricate PCB

  - Design 3D wrist enclosure

  - Basic bench testing of sensors

- Phase 2 (2 months)

  - Implement data acquisition code

  - Implement filters (Butterworth etc.)

  - Design and code the UI (desktop/mobile)

  - First version of dosha interpretation algorithm

- Phase 3 (2 months)

  - Start clinical testing with small group of subjects

  - Collect parallel readings (device + doctor)

  - Analyze mismatch cases

  - Refine algorithms and recalibrate sensors

- Phase 4 (2 months)

  - Deploy device in one pilot Ayurveda center or wellness clinic

  - Collect real-world feedback from practitioners and patients

  - Improve ergonomics, UI, stability

- Phase 5 (1.5 months)

  - Prepare final documentation

  - Write clinical whitepaper/report

  - File provisional patent

  - Prepare presentations for funding agencies / colleges / competitions

## 8. National Relevance

Your project aligns with multiple Government of India initiatives:

- Ministry of AYUSH

  - Ministry promotes Ayurveda, Yoga, Unani, Siddha, Homeopathy.

  - Your device helps standardize an Ayurvedic diagnostic method, which fits AYUSH goals perfectly.

- Ayushman Bharat – Health & Wellness Centres

  - These centers focus on preventive healthcare.

  - Your device can be used for:

    - Early detection of imbalances

    - Lifestyle counseling

    - Non-invasive, low-cost screening

- National Digital Health Mission (NDHM)

  - NDHM promotes digitized health records (ABHA ID).

  - Your device can store patient pulse data and link it with their ABHA health ID, creating a digital history of their doshic patterns.

- Startup India / Atal Innovation Mission

  - The project has startup potential:

    - Indigenous hardware

    - Ayurveda-specific digital health device

  - It can be scaled:

    - Sold to clinics, Ayurvedic colleges, wellness chains

    - Exported as a unique Indian innovation

So you are not just doing a college mini-project; you are creating a product concept that fits into national health and innovation frameworks.

## 9. Conclusion

To summarize in an expanded way:

- Traditional Nadi Pariksha is a powerful but subjective diagnostic tool in Ayurveda.

- Modern healthcare systems demand:

  - Objectivity,

  - Standardization,

  - Digital records, and

  - Scalability.

Your Sensor-Based Nadi Pariksha Diagnostic Machine:

- Combines Ayurvedic wisdom with modern sensors and embedded systems.

- Uses:

  - Pressure sensors (for Bala and waveform),

  - PPG sensors (for HR and HRV),

  - Temperature sensors (for Tapamana),

  - Raspberry Pi / microcontroller (for processing),

  - Algorithms (for dosha interpretation).

With a carefully planned budget of ₹6.75 lakhs and 9-month timeline, the project is:

- Technically feasible

- Culturally relevant

- Aligned with national healthcare policies

You finally request financial support to:

- Build the prototype

- Validate it with expert Ayurvedic practitioners

- Document the findings

- Move towards a scalable, production-ready health device